## Sheet1
Contact Time Record - Hyperchlorination to Inactivate Cryptosporidium
1. Start recording contact time using this tool once free chlorine reaches a minimum of 12 PPM and pH is 7.5 or less. 2. Conduct hourly free chlorine tests (dilution may be required) and record the results below. 3. Once the total contact time exceeds 15,300 mg-min/L you have reached the required level for the hyperchlorination.
Person responsible for hyperchlorination:
Time/date hyperchlorination commenced: Time superchlorination completed:
Time/date hyperchlorination completed:
Pool Name | Hourly Testing | Free Chlorine Test (PPM) | Contact (min) | Total Contact Time
| 1 hour |  | 0 | 0
| 2hour |  | 0
| 3 hour |  | 0
| 4 hour |  | 0
| 5 hour |  | 0
| 6 hour |  | 0
| 7 hour |  | 0
| 8 hour |  | 0
| 9 hour |  | 0
| 10 hour |  | 0
| 11 hour |  | 0
| 12 hour |  | 0
| 13 hour |  | 0
| 14 hour |  | 0
| 15 hour |  | 0
| 16 hour |  | 0
| 17 hour |  | 0
| 18 hour |  | 0
| 19 hour |  | 0
| 20 hour |  | 0
| 21 hour |  | 0
| 22 hour |  | 0
| 23 hour |  | 0
| 24 hour |  | 0
Reopen the pool only after free chlorine and pH levels are within the limits specified in the Public Health & Wellbeing Regulations.