THE ANNUAL REPORT OF

THE RADIATION ADVISORY COMMITTEE

FOR THE FINANCIAL YEAR ENDING JUNE 2022

RADIATION ADVISORY COMMITTEE

Melbourne, Australia

 State of Victoria 2022

ISBN  1035-7912

This document is available online from the Department of Health website https://www.health.vic.gov.au//publications/radiation-advisory-committee-annual-report

The Hon Martin Foley MLA
Minister for Health

Dear Minister

Pursuant to Section 110 of the Radiation Act 2005, the Radiation Advisory Committee submits the 2022 annual report of the Committee for presentation to Parliament.

Yours faithfully

Dr Joanna Lia Wriedt
Chair
RADIATION ADVISORY COMMITTEE

CONTENTS

RADIATION ADVISORY COMMITTEE	1

(i)	Composition	1

(ii)	Responsibilities	2

1.	Introduction	2

2.	Ionising radiation	3

2.1	Implementation of the ARPANSA Code for Radiation Protection in Planned Exposure Situations (2020).	3

2.2	Implementation of the ARPANSA Code for Radiation Protection in Medical Exposure (2019).	3

2.3	National Directory for Radiation Protection (NDRP)	3

2.4	Low dose computed tomography for lung cancer screening program	3

2.5	Cone beam CT for breast imaging	4

2.6	Ilmenite spill and 85Kr source loss	4

2.7	Diagnostic Imaging Accreditation Scheme (DIAS)	4

2.8	Death due to anaphylactic reaction to contrast administered for a CT scan	5

2.9	The linear no-threshold hypothesis	5

2.10	The Australian Clinical Dosimetry Service (ACDS)	5

2.11	Multienergy, photon counting CT scanner	5

2.12	Definition of occupational exposure to radiation	6

2.13	Radiation incident reporting	6

2.14	Radiation Act Annual Report for the financial year ending 30 June 2021	6

2.15	DRAFT Australian Radiation Incident Register (ARIR) Annual Summary Report 2020	7

2.16	The Department’s new radiation licensing database	7

2.17	Safety reflections	7

3.	Non-ionising radiation	8

3.1	Scientific Papers	8

3.2	Illegal laser pointers	8

3.3	Research on 5G mobile telephony and health	8

3.4	5G mobile telephony and aircraft	8

3.5	The Committee’s view on possible health effects of radiofrequency radiation	8

3.6	The Committee’s view on possible health effects of power frequency electromagnetic fields.	9

Appendix 1 - Terms of reference of the Radiation Advisory Committee	10

# RADIATION ADVISORY COMMITTEE

The Radiation Advisory Committee (the Committee) is established under Part 10 of the Radiation Act 2005. The term of appointment for the Committee is for the period from 17 August 2020 to 16 August 2023.

## Composition

The Committee met on 4 occasions from July 2021 to June 2022.

The members of the Committee are listed in Table 1.

| Table 1 |  |
| --- | --- |
| Dr Joanna Lia Wriedt (Chair) Physiologist, Epidemiologist and Lawyer Meetings attended: 4 | Dr David Bernshaw Consultant Radiation Oncologist Peter MacCallum Cancer Centre Meetings attended: 4 |
| A/Prof Ken Karipidis Assistant Director Assessment and Advice Australian Radiation Protection and Nuclear Safety Agency Meetings attended: 4 | Dr Roslyn Drummond Radiation Oncologist Peter MacCallum Cancer Centre Meetings attended: 4 |
| Associate Professor Eddie Lau Radiologist and Nuclear Medicine Specialist Austin Health Meetings attended: 4 | Mr Geoffrey Dick Deputy Chief Radiographer and CT Supervisor Medical Imaging Angliss Hospital Eastern Health Meetings attended: 4 |
| Dr Zoe Brady Chief Physicist Alfred Radiology and Nuclear Medicine Department Alfred Health Meetings attended: 4 | Ms Min Ku Professional Standards Manager Australian Society of Medical Imaging and Radiation Therapy Meetings attended: 4 |
| Dr Tomas Kron Director of Physical Sciences Peter MacCallum Cancer Centre and University of Melbourne Meetings attended: 4 | Dr Peter Francis Head of Nuclear Medicine / PET Royal Children’s’ Hospital Meetings attended: 3 |
| Dr Fiona Charalambous Waste Safety Australian Radiation Protection and Nuclear Safety Agency Meetings attended: 3 |  |

## (ii)	Responsibilities

The Committee is to advise the Minister for Health or the Secretary of the Department of Health (the Department), on any matters relating to the administration of the Radiation Act 2005, referred to it by the Minister or the Secretary including the following:

- The promotion of radiation safety procedures and practices.

- Recommendation of the criteria for the licensing of persons and the qualifications, training or experience required for licensing.

- Recommendation of which radiation sources should be prescribed as prescribed radiation sources.

- Recommendation of the nature, extent and frequency of tests to be conducted on radiation apparatus and sealed radioactive sources.

- Codes of practice, standards or guidelines with respect to particular radiation sources, radiation practices or uses.

Section 110 of the Radiation Act requires that the Committee must give the Minister a report on its activities during a financial year no later than 1 November following that year.

The terms of reference for the Committee are provided in Appendix 1.

# Introduction

Throughout the year a number of issues were considered by the Committee including:

- National uniformity of radiation legislation in Australia.

- The regulatory requirements for various ionising radiation practices, including:

  - Low dose computed tomography in lung cancer screening.

  - The implementation of the national Code for Radiation Protection in Planned Exposure Situations (2020).

  - The implementation of the national Code for Radiation Protection in Medical Exposure.

- Non-ionising radiation matters.

The Committee continues to pay close attention to the use of and developments in the use of ionising radiation in the medical and the non-medical fields due to the risks associated with exposure to ionising radiation. These risks need to be balanced by the positive benefits associated with the use of ionising radiation.

The Committee would like to thank the Radiation Team of the Department of Health, in particular Mr Morrie Facci, for its continuing assistance and support.

# Ionising radiation

## Implementation of the ARPANSA Code for Radiation Protection in Planned Exposure Situations (2020).

The department advised the committee of the staged approach being adopted by the department to the implementation of the ARPANSA ‘Code for Radiation Protection in Planned Exposure Situations (2020)’ (the Planned Exposure Code). Compliance with this code is intended to be a universal requirement for all radiation practices around Australia.

The first stage of Victoria’s implementation of the Planned Exposure Code was to mandate that all applications for new management licences or variations to existing management licences be accompanied by a Radiation Management Plan. The Radiation Management Plan is one of the mandatory elements in the code. All existing management licence holders were advised in writing that it was the department’s intention to implement the Planned Exposure Code fully from 1 January 2023.

The second and final stage of the implementation of the Planned Exposure Code is to vary all existing management licences to require compliance with the code as a condition of licence.

The committee commended the department on the implementation of the Code and the mandating of the RMP into the regulatory system.

## Implementation of the ARPANSA Code for Radiation Protection in Medical Exposure (2019).

The department advised the committee that compliance with the ARPANSA ‘Code for Radiation Protection in Medical Exposure (2019)’ (the Medical Code) is intended to be a universal requirement for all medical radiation practices around Australia. The Medical Code is intended to be complemented by the Planned Exposure Code.

## National Directory for Radiation Protection (NDRP)

The department advised the committee that the National Directory for Radiation Protection (2nd Edition) (NDRP2) was published in October 2021. NDRP2 was intended to provide an overall agreed framework for radiation safety, for both ionising and non-ionising radiation, together with clear regulatory statements to be adopted by the Commonwealth, states and territories. The committee noted its adoption by the Commonwealth and the states and territories will go a long way towards addressing the recommendations in the report of the IAEA Integrated Regulatory Review Service (IRRS) mission that visited Australia during 5–16 November 2018.

## Low dose computed tomography for lung cancer screening program

The Screening and Cancer Prevention unit of the department gave a presentation to the committee on Cancer Australia’s Report on the Lung Cancer Screening Inquiry.

The department believed that the use of the term “low dose” in reference to the screening CT units was misleading in that it suggested that other CT units were “high dose”, whereas, in fact, a properly optimised CT scanner would deliver a radiation dose comparable to the “low dose” screening units. The committee agreed with the department’s sentiments.

The committee advised that it would keep a watching brief on developments in this area and advised the department to report on any developments or concerns regarding the screening program at future meetings of the committee.

## Cone beam CT for breast imaging

The committee advised the department regarding the use of cone beam CT for breast imaging. This technology involves less discomfort for the patient, less time and provides better resolution images. The committee advised that the technology had not yet been introduced into Australia but was used overseas.

## Ilmenite spill and 85Kr source loss

The department advised the committee of two radiation incidents to which the Radiation Team had to respond. The first involved the spill of ilmenite from a truck transporting the material for a mining company to the Port of Portland. The ilmenite was recovered and taken to a nearby mine site of the mining company for deep disposal. The second incident involved the loss of a 85Kr gauge in transit from Tullamarine airport. The gauge was recovered after a few days and delivered to its intended destination. Neither of the incidents involved any significant radiation exposure to any person involved.

## Diagnostic Imaging Accreditation Scheme (DIAS)

Dr Lau advised the committee about the work of the Diagnostic Imaging Accreditation Scheme (DIAS). The department nominated Dr Lau to be a member of the DIAS advisory committee in 2019. DIAS was established in June 2007 to ensure safety and quality standards for diagnostic imaging practices in Australia.

Governance in safety and quality in health care was transferred from the federal government to the Australian Commission on Safety and Quality in Health Care (ACSQHC). ACSQHC has standards that provide a nationally consistent statement of the level of care consumers can expect from health service organisations.

Dr Lau tabled the DIAS accreditation register report for the 4th Quarter 2021 and 1st Quarter 2022. There were 4,403 accredited diagnostic imaging practices in the first quarter of 2022, up by 53 practices compared to the fourth quarter of 2021; 89% of these imaging practices has full-suite accreditation while 11% have entry-level accreditation. Only 12 imaging practices were not holding accreditation at the end of March 2022.

The committee suggested that DIAS be made aware of the Planned Exposure Code and the Medical Code as these codes have requirements concerning clinical governance as well as radiation safety.

## Death due to anaphylactic reaction to contrast administered for a CT scan

The Committee was reminded of the coronial inquest conducted into the death of a patient following a cardiac CT procedure. The patient underwent a CT coronary angiography (CTCA) scan with intravenous (IV) contrast administration. Following the administration of contrast the patient had a severe anaphylactic reaction and was transferred by ambulance to hospital. The patient’s condition deteriorated further and she died several days later.

The Committee was provided with a copy of the report of the findings of the coroner.

The department may need to determine whether there should be some restriction placed on the type of health care professional permitted to refer patients for computed tomography coronary angiograms.

## The linear no-threshold hypothesis

Dr Bernshaw gave a presentation to the committee on the linear no-threshold hypothesis of biological effects of radiation. Dr Bernshaw concluded that, despite a number of studies demonstrating that radiation responses of various types do not necessarily vary linearly with dose, sometimes having quite complex dependences on doses and dose rates, the linear no-threshold hypothesis remains the best model for regulatory purposes as a means of quantifying cancer risk from exposure to radiation.

## The Australian Clinical Dosimetry Service (ACDS)

Dr Ivan Williams, Chief Medical Radiation Scientist, Medical Radiation Services ARPANSA gave a presentation to the committee that summarised the governance and oversight arrangements in place for the ACDS and the significant impact the ACDS’ auditing program has had on ensuring the safe and accurate delivery of radiotherapy in Australian and New Zealand over the last 10 years. Dr Williams described the depth of expertise across logistics, professional knowledge and data analytics required to continue the auditing service provided by the ACDS. From 1 January 2017 the ACDS became a user pays service. Prior to that it was fully funded by the Commonwealth Government.

The department advised the committee that the department had received correspondence from a private company wishing to provide clinical dosimetry services for radiotherapy. The department advised the committee that any companies providing clinical dosimetry services for radiotherapy would be held to the same standards as those applied to ACDS.

The department was keen that kilovoltage and orthovoltage dosimetry be considered as well. The committee advised the department that the ACDS will be looking at brachytherapy, kilovoltage and orthovoltage quality auditing requirements.

## Multienergy, photon counting CT scanner

The committee advised the department that a company had released a new multienergy, photon counting CT scanner that uses iterative construction. This type of scanner offers better resolution and lower dose than existing CT scanners. Increasing use of this type of scanner has the potential to drive down diagnostic reference levels based on future dose surveys.

## Definition of occupational exposure to radiation

The department advised the committee of the potential issues related to the inconsistency between the definition of occupational exposure in the Victorian Radiation Regulations 2017 and the definition used in the Planned Exposure Code (PEC). The committee was asked to consider whether the definition of occupational exposure in the Victorian Radiation Regulations 2017 should be revised to align with the definition used in the PEC.

The committee was of the view that all jurisdictions should align their definition of occupational exposure with that in the PEC. The PEC defines an occupationally exposed person as a worker who is exposed to ionising radiation arising from work undertaken within a practice, whereas the Radiation Regulations 2017 define occupational exposure to mean the exposure to radiation of a person using a radiation source or directly conducting a radiation practice. The department confirmed that it would review the current definition in the regulations.

## Radiation incident reporting

The Department reminded the Committee of the Integrated Regulatory Review Service (IRRS) Mission Report recommendations regarding incident reporting. ARPANSA acts as a national point of contact for radiation incidents that are reported to it either by its licence holders or from states and territories through national agreements.

The Committee noted that the establishment of a nationally consistent framework for the reporting of incidents is currently hampered by several problems that need to be addressed first. These problems include the lack of alignment between the National Directory for Radiation Protection and the Australian Radiation Incident Register (administered by ARPANSA), the need for a review of incident reporting categories and dose thresholds, whether mandatory or voluntary incident reporting should be adopted and inconsistency of reporting requirements across Australia.

Potential solutions to the above problems would need to be addressed at a national level.

## Radiation Act Annual Report for the financial year ending 30 June 2021

Section 134 of the Radiation Act requires that the Secretary publish a report for each financial year that:

- describes the activities of the Secretary under the Radiation Act 2005

- includes a summary of all authorities issued, renewed, suspended, cancelled, varied, transferred or surrendered during that year

- includes all radiation incidents investigated in that year

- includes a summary of all prosecutions for offences against the Radiation Act or the Radiation Regulations commenced in that year.

The Committee was provided with a copy of the Radiation Act Annual Report for the financial year 2020 -2021 for information.

The Committee advised the Department that inclusion of a table showing the numbers of incidents in the various categories would aid in the identification of any trends. The Department stated that it would include such a table in future Radiation Act annual reports.

## DRAFT Australian Radiation Incident Register (ARIR) Annual Summary Report 2020

The draft Annual Summary Report of the ARIR was provided to the Committee for information.

The Committee noted that the report highlighted incidents involving nuclear medicine procedures and the errors that occurred in the various workflow steps designed to ensure the right radiopharmaceutical is administered to the right patient to achieve the desired clinical outcomes.

## The Department’s new radiation licensing database

The Committee was updated on the Department’s new radiation licensing database, RALPH. The new database was launched in October 2019. Currently it is only used for use licences, approved testers and approved assessors but is being developed to include management licences.

The system verifies the details of licence holders, approved testers and approve assessors when they are registered. They are then able to:

- Download a copy of their licence.

- Apply for variations to an existing licence or approval.

- Make credit card payments.

- Update their contact details.

- The system was in the user acceptance phase as of the end of the 2021-2022 financial year and, subject to resolution of some remaining issues, the department is aiming to implement the system for all authorisation types early in the first quarter of 2022/23.

## Safety reflections

The Committee meetings have a standing agenda item entitled Safety Reflections. This agenda item provides an opportunity for the members of the Committee to contribute reflections on broader safety considerations in order to place radiation safety considerations into a wider perspective on matters relating to safety.

# Non-ionising radiation

## Scientific Papers

The followed scientific paper was considered by the Committee during the year.

Ken Karipidis, David Urban, Rick A Tinker and Trevor Wheatley. The increasing use of cosmetic non-ionising radiation applications – types of procedures, potential risks to consumers and regulation in Australia. Public Health Research and Practice, https://doi.org/10.17061/phrp32122204.

The authors call for more research into the use of non-ionising radiation (NIR) for cosmetic purposes and state that the ARPANSA has published national advice for consumers and service providers that gives information on cosmetic NIR treatments and the potential risks involved.

## Illegal laser pointers

The committee advised the department that ARPANSA is working to raise awareness about illegal laser pointers that are being imported into the country due to incorrect product labelling. In Australia, all laser pointers that are available to the public must have a radiant power output of less than 1 milliwatt (mW). Laser pointers with a power above 1 mW are classified as prohibited weapons. ARPANSA will advise customs brokers, freight forwarders and others in the import sector to check product labels. Laser pointers without a label or that are labelled incorrectly may be referred to the relevant authorities.

## Research on 5G mobile telephony and health

The committee advised the department that ARPANSA will provide funding to RMIT University to investigate whether exposure to electromagnetic energy (EME) from 5G mobile telecommunications affects cellular function. This research is funded as the first major project under ARPANSA’s new Electromagnetic Energy Program, which provides opportunities for universities, hospitals and medical research institutes to access funding and support to address priority areas in research into health effects of EME. Funding for EME research projects is now administered by ARPANSA with research proposals judged by external referees.

## 5G mobile telephony and aircraft

The committee advised the department that there has been recent debate in the USA as to whether 5G mobile telephony (operating at 3.7-3.98 GHz) can interfere with airplane navigation systems (operating at 4.2-4.4 GHz). The USA Federal Aviation Administration is continuing to investigate this issue. This interference is not an issue in Australia because 5G operates at lower frequencies (3.4-3.7 GHz) in Australia.

## The Committee’s view on possible health effects of radiofrequency radiation

The publication of the new ARPANSA standard and the scientific studies considered by the Committee during the year has not altered the Committee’s position that there is no substantive evidence linking exposure to radiofrequency radiation at levels below the limits of the standard to an increased risk of cancer or other adverse health outcomes in humans. In light of ongoing public interest and concerns over mobile phones, base stations, smart meters and 5G technology, the Committee will continue to maintain a watching brief.

## The Committee’s view on possible health effects of power frequency electromagnetic fields.

The Committee’s position, based on its scrutiny of the literature, is that epidemiological evidence is lacking for a consistent and reproducible association between exposure to power frequency electromagnetic fields and adverse health outcomes in humans. Research in this area is complex in regard to exposure measurement and disease type studied and, as a result, the research outcomes can vary from study to study. The Committee will continue to maintain a watching brief.

# Appendix 1 - Terms of reference of the Radiation Advisory Committee

Role

The Radiation Advisory Committee is established under the Radiation Act 2005 (the Act). The committee's function is to consider, advise and report to the Minister for Health or the Secretary of the department on any matters relating to the administration of the Act and Radiation Regulations 2017, including:

- the promotion of radiation safety procedures and practices;

- recommending the criteria for the licensing of persons to use radiation sources and the qualifications, training or experience required by those persons to do so;

- recommending which radiation sources should be prescribed as prescribed radiation sources;

- the radiation safety standards to be specified under section 29 of the Act;

- the nature, extent and frequency of tests to be conducted on prescribed radiation sources and the specification of radiation safety tests under section 30 of the Act;

- codes of practice, standards or guidelines with respect to particular radiation sources, radiation practices or uses.

Responsibilities and functions

The Committee may provide advice to the Department in relation to:

- the administration and amendments of the Radiation Act 2005 and the Radiation Regulations 2017;

- the licensing of persons and companies to use radiation sources and conduct radiation practices;

- the inspection and testing of radiation sources;

- new radiation sources and technologies;

- the development, implementation and review of state and national codes, standards and guidelines;

- the transportation, storage and disposal of radioactive materials;

- the security of radioactive sources;

- radiation incidents;

- non-ionising radiation matters including:

  - health effects of radiofrequency electromagnetic fields (including mobile communications);

  - health effects of extremely low frequency (ELF) electromagnetic fields (including power frequency fields); and

  - lasers and intense pulsed light (IPL) sources.

- the promotion and improvement of radiation safety in Victoria;

- developments that impact on best practice for radiation safety; and

- any other matter put to it by the Minister.

In addition to this the Committee may deliberate on other matters that are relevant to its objectives. This includes identifying opportunities, issues of concern including resource constraints and research needs.

Membership

Requirements

Under the Radiation Act 2005, the Committee will consist of at least 5 members appointed by the Minister for Health.

It is government policy that the membership of committees accurately reflect the composition of the Victorian community, including gender balance.

A member is appointed for the term, not exceeding 3 years, specified in the instrument of appointment, but is eligible for re-appointment.

Expressions of interest are sought towards the end of the outgoing Committee’s three-year term from persons wishing to apply for membership of the Committee for the next three years.

Chairperson

The Chairperson is elected by the consensus of the Committee. A Chairperson is appointed for the term, not exceeding 3 years, specified in the instrument of appointment, but is eligible for re-appointment.

Expressions of interest are sought towards the end of the outgoing Committee’s three-year term from members wishing to apply for Chairperson of the Committee for the next three years.

Conduct

Members will act in accordance with legal requirements, ethical standards, relevant policies including conflict of interest, codes of conduct and the Department of Health’ values.

Induction of new members

The Chairperson, supported by the Secretariat, will provide newly appointed members with all necessary and relevant information regarding the Committee’s responsibilities and any other background information to enable them to understand the scope of operations and duties and responsibilities. This includes the Terms of Reference as well as the minutes of the past three meetings.

Observers

The Chairperson or the Minister may invite any person who is not appointed as a member to attend meetings to act as an observer and who may participate in discussions. Such a person may include a technical subject expert.

Observers are to receive all relevant information provided to members of the Committee except that designated confidential.

Removal and resignation from office

A member may resign from office by notice in writing signed by that person and delivered to the Minister and the Department.

The Minister and the Department may remove a member from office at any time for any reason.

Acting appointments

The Minister may appoint a person to act in the place of a member who is absent from duty or who, for any other reason, is unable to perform the duties of the office.

An acting member is appointed for the term, and on such other terms and conditions, as are specified in the instrument of appointment and may perform all the duties, of the member for whom he or she is acting.

The Minister may at any time terminate an acting appointment.

Conflict of interest

Committee members have a responsibility to avoid conflicts of interest and to notify other members when a conflict arises.

A conflict of interest occurs when a person’s interests conflict with their responsibility to act in the best interests of the Committee.

A conflict of interest may be actual, potential, or perceived, and may be financial or non-financial. A conflict in itself does not imply wrongdoing but managing conflicts of interest is essential to maintain the integrity of the Committee. Management of a conflict of interest will be on a case by case basis but may at times require a member to recuse themselves from a discussion and/or decision.

The onus for declaration of any conflict of interest rests with each member.

If members are in doubt as to whether they have a conflict of interest, they should speak with the Chairperson prior to any meetings, discussions or decisions on the relevant issue.

Meeting procedure

Frequency of meetings

Meetings will be scheduled for the first Thursday of every second month, starting February. If required, additional meetings will be scheduled as determined by the Department.

Attendance and quorum requirements

A minimum of five members constitutes a quorum for meetings of the Committee. Members are expected to commit the required time and attend a minimum attendance of 75% of meetings. Members may participate in the meeting by telephone or video links.

Committee recommendations and decision making

A decision as to a recommendation to be made by the Committee is determined by a majority of votes of members who are present and voting on the question. In the event of a deadlock, the Chairperson shall have a casting vote. Prior to making a decision, the Committee will give due consideration to all the relevant information, issues, options and implications.

Members may be required to provide advice to the Department out-of-session.

Sub-committees

The Committee may, with the consent of the Minister, request a person to assist the Committee with the Committee's work or a sub-committee of the Committee with the sub-committee's work.

The Department selects and appoints members to the sub-committees.

The Chairperson of the sub-committee will provide regular reports to the Committee and refer matters of relevant importance to the Committee.

Secretariat support

Secretariat support to the Committee and any sub-committees is provided by the Department. The Secretariat is nominated and overseen by the Manager, Environmental Health Regulation and Compliance Unit within the Department of Health Victoria.

Agenda, papers and minutes

Agendas and meeting papers will be prepared by the secretariat of the Committee in consultation with the Chairperson and distributed no later than one week prior to the meeting.

Agendas and papers may be circulated to members of the Committee by hard copy or electronic methods.

The Secretariat will minute all meetings and will distributed to the Committee within three weeks following the meeting. Minutes will be ratified at the next Committee meeting.

Confidentiality

Members of the Committee must not discuss any deliberations or circulate any meeting agendas, minutes, papers or other materials publicly, or in any other forum, without the consent from the Minister for Health.

Communication with the media

Committee members must not communicate with the media regarding discussions held in committee meetings. Media enquiries regarding such matters must be directed to the Department.

Remuneration

A Committee member is entitled to be paid the fees and allowances from time to time determined by the Governor in Council. Under the Appointment and Remuneration Guidelines for Victorian Government Boards, Statutory Bodies and Advisory Committees (2018), the Committee is classified as a group C organisation, band 1 and Committee members are entitled to receive remuneration consistent with the guidelines. This also applies to any sub-committees of the Committee

A person who assists the Committee or a subcommittee of the Committee is entitled to be paid the fees and allowances from time to time determined by the Governor in Council.

Evaluation

Annual Report of the Committee

The Committee must give the Minister a report on its activities during a financial year no later than1 November following that year.

Committee performance

The Committee will conduct an annual collective and individual evaluation of its performance (performance metrics to be determined). The evaluation will be presented to the Committee and to the Department.

The purpose of performance assessment is to enable performance areas that require improvement to be identified and addressed.

Review process for Terms of Reference

The Terms of Reference will be reviewed by the Committee at least every three years or as required jointly lead by the Committee and the Department. Changes to the Terms of Reference will be put to the Committee after considering any recommendations that come forward after a review.