Cold Chain Breach report form

Follow online Cold Chain Breach (CCB) advice <https://www.health.vic.gov.au/immunisation/cold-chain-breach-reporting>. Please note, this form is not used for delivery CCB events. For delivery CCB information and action, see Cold chain monitoring during vaccine transport <https://www.health.vic.gov.au/immunisation/cold-chain-monitoring-during-vaccine-transport>. DO NOT USE OR DISCARD VACCINES - Isolate and store affected vaccines in appropriate cold chain storage requirements and clearly label: 'DO NOT USE, DO NOT DISCARD'. - Await advice from the Department of Health Immunisation Program THE CCB REPORT WILL NOT BE ASSESSED WITHOUT THE FOLLOWING ATTACHMENTS - Temperature logger data: provide data logger recordings set at 5 minute read intervals for the complete duration of this CCB in a table format (not a graph) - Vaccine refrigerator twice daily current, minimum & maximum temperature chart. - If these are not available, include this in your email.

#### Please complete all fields before submitting to the Immunisation Program

| Section 1: Immunisation Provider Details |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Government funded vaccine Account No. (Onelink): |  |  |  |  |  |  |  |  |
| Contact name: |  |  | Date of report: |  |  |  |  |  |
| Organisation/clinic name: |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |  |  |
| Phone: |  |  | Mobile: |  |  |  |  |  |
| Section 2: Details of Cold Chain Breach (CCB) |  |  |  |  |  |  |  |  |
| Date/time of CCB |  |  | Duration of CCB (hours/mins) |  |  |  |  |  |
| Min temperature (°C) |  |  | Max temperature (°C) |  |  |  |  |  |
| Type of vaccine refrigerator | ☐ Vaccine refrigerator |  | ☐ Domestic refrigerator |  |  | ☐ ULT Freezer |  |  |
|  | ☐ Esky |  | ☐ Other (list) |  |  |  |  |  |
| Vaccine refrigerator | Purchase date: |  |  | Last service date: |  |  |  |  |
| Data logger | Purchase date: |  |  | Inbuilt/portable: |  |  |  |  |
|  | Battery last changed date: |  |  | Calibration/service date: |  |  |  |  |
|  | Position in refrigerator: |  |  |  |  |  |  |  |
| Temperature monitoring | ☐ Data logger |  | ☐ Refrigerator digital display |  |  | ☐ Min/max thermometer |  |  |
|  | ☐ Nil available |  | ☐ Other (list) |  |  |  |  |  |
| Incident type | ☐ Power outage |  | ☐ Mechanical failure |  |  | ☐ Human error |  |  |
|  | ☐ Light exposure |  | ☐ Other (list) |  |  |  |  |  |
| Incident description (Optional field) |  |  |  |  |  |  |  |  |
| Are the vaccines currently stored in monitored +2°C - +8°C temperature range? | ☐ Yes |  |  |  |  |  |  |  |
|  | ☐ No. Where/how are the vaccines currently stored? |  |  |  |  |  |  |  |
| Is this the first CCB for these vaccines? | ☐ Yes |  |  |  |  |  |  |  |
|  | ☐ No. Complete question below. |  |  |  |  |  |  |  |
| Previous CCB details: | ☐ NA |  |  |  |  |  |  |  |
|  | Date/time of CCB: |  |  |  | Duration of CCB (hours/mins): |  |  |  |
|  | Min temperature (°C): |  |  |  | Max temperature (°C): |  |  |  |
| Has anyone been vaccinated with the CCB affected vaccines? | ☐ Yes. How many individuals have been vaccinated? |  |  |  |  |  |  |  |
|  | ☐ No |  |  |  |  |  |  |  |

#### Cold chain breach report form Government funded vaccines and immunisation products

*Count and enter the total number of doses for this CCB.

#For previous CCB, count and enter the total number of doses and the duration. e.g. 4 doses x 7 hours 20 minutes

| Government funded vaccines | Vaccine Brand | *Total number of doses affected this CCB | #Dose number + time (hours/mins) of vaccines affected by previous CCB |
| --- | --- | --- | --- |
|  | Example: Gardasil 9 | 5 | 4 x 7 hours 20 minutes |
| National Immunisation Program | Abrysvo |  |  |
|  | Arexvy |  |  |
|  | ActHIB |  |  |
|  | Adacel |  |  |
|  | Bexsero |  |  |
|  | Boostrix |  |  |
|  | Capvaxive |  |  |
|  | Engerix-B (Adult) |  |  |
|  | Engerix-B (Paed) |  |  |
|  | Gardasil 9 |  |  |
|  | H-B-Vax II (Adult) |  |  |
|  | H-B-Vax II (Paed) |  |  |
|  | Infanrix |  |  |
|  | Infanrix hexa |  |  |
|  | Infanrix IPV |  |  |
|  | IPOL |  |  |
|  | MenQuadfi |  |  |
|  | M-M-R II |  |  |
|  | Nimenrix |  |  |
|  | Prevenar 20 |  |  |
|  | Priorix |  |  |
|  | Priorix-Tetra |  |  |
|  | Quadracel |  |  |
|  | Rotarix |  |  |
|  | Shingrix |  |  |
|  | Tripacel |  |  |
|  | Varilrix |  |  |
|  | Varivax |  |  |
|  | Vaxelis |  |  |
| National Immunisation Program Seasonal Influenza vaccine | Fluad |  |  |
|  | Flucelvax |  |  |
|  | Vaxigrip |  |  |
| Victorian state immunisation programs Japanese encephalitis | Imojev |  |  |
|  | JEspect |  |  |
| Mpox | JYNNEOS |  |  |
| RSV monoclonal antibody | Nirsevimab (Beyfortus) 0.5ml |  |  |
|  | Nirsevimab (Beyfortus) 1ml |  |  |

Reporting details must be provided for CCB assessment by the Immunisation Program

☐ Email completed CCB report form to the Immunisation Program: immunisation@health.vic.gov.au ☐ Complete a separate report for each vaccine refrigerator affected. ☐ Check all required documentation is attached to email. ☐ Attach the following (PDF/CSV/JPEG format only): ☐ Temperature logger data: provide data logger recordings set at 5 minute read intervals for the duration of this CCB. ☐ Vaccine refrigerator twice daily current, minimum & maximum temperature chart. ☐ Current, minimum & maximum temperature chart used during transfer of vaccines e.g., esky (if applicable). ☐ View the Cold Chain Management Essentials videos for guidance on preparing these documents: https://www.health.vic.gov.au/immunisation/cold-chain-management-provider-resources.

Other vaccines

Seek thermostability advice from the following contacts for all other CCB affected vaccine ☐ COVID-19 vaccine: refer to <https://www.health.gov.au/resources/publications/cold-chain-breach-ccb-reporting-form>. ☐ Prescriber bag ADT and privately purchased vaccine - contact vaccine manufacturer. ☐ BCG / Tuberculin - contact vaccine manufacturer. ☐ Other medications - contact vaccine manufacturer. Vaccine manufacturer contacts: - Seqirus: 1800 642 865 - GSK: 1800 033 109 - Pfizer: 1800 700 802; - Sanofi Pasteur: 1800 829 468 - Biocelect: 1300 848 628 - MSD: 1800 818 553 / dpoc.australia@msd.com.

Cold Chain Resources

- Cold chain management, Department of Health, Victoria. <https://www.health.vic.gov.au/immunisation/cold-chain-management> - Cold Chain Management Essentials videos, Department of Health, Victoria. <https://www.health.vic.gov.au/immunisation/cold-chain-management-provider-resources > - National Vaccine Storage Guidelines 'Strive for 5' , Department of Health and Aged Care, Australian Government <https://www.health.gov.au/resources/collections/national-vaccine-storage-guidelines-resource-collection>

To receive this document in another format, email the Immunisation Program <immunisation@health.vic.gov.au> Authorised and published by the Victorian Government, 1 Treasury Place, Melbourne. © State of Victoria, Australia, Department of Health, June 2026.