Radiation Act 2005

Annual report for the financial year ending 30 June 2026

OFFICIAL

To receive this publication in an accessible format email the Health Regulator: <radiation.safety@health.vic.gov.au>

Authorised and published by the Victorian Government, 1 Treasury Place, Melbourne
© State of Victoria, Australia, Department of Health, 2026

ISSN 2207-0079 – Online (pdf/word)

Available from the department’s website: <https://www.health.vic.gov.au/radiation/radiation-act-annual-reports>

Contents

Radiation regulation in Victoria in 2025–26: a snapshot	4

Introduction	5

Legislation	6

Radiation Act 2005	6

Radiation Regulations  	6

How is the Act administered?	7

The Health Regulator	7

The licensing framework	7

Licence conditions	7

Summary of authorities issued by the department	8

Revenue	10

Fee policy	10

2025–26 fees	10

Enforcement activity	11

Improvement notices	11

Prohibition notices	11

Show cause notice	11

Executing a search warrant	11

Seizure of articles	11

Making a radiation source inoperative	12

Sealing a radiation source	12

Suspending or cancelling an authority	12

Prosecution	12

2025–26 enforcement actions undertaken	12

Compliance monitoring overview	14

Medical, veterinary and dental radiation practices	15

Medical radiation practices	15

Veterinary radiation practices	15

Dental radiation practices	16

Industrial radiation practices	17

Mining of mineral sands and rare earths	17

Commercial tanning practices	17

Incidents investigated by the department	18

Secretariat support for the Radiation Advisory Committee	19

# Radiation regulation in Victoria in 2025–26: a snapshot

The Health Regulator is the main regulatory oversight branch of the Department of Health (the department). Our work includes administering permissions and licensing, monitoring compliance and enforcing the law, and regulatory reform and policy. This includes regulation of radiation practices under the Radiation Act 2005 (the Act).

The purpose of the Act is to protect the health and safety of Victorians and the environment from the harmful effects of radiation.

The Act requires that the Secretary of the Department of Health publish an annual report that describes the activities of the Secretary under the Act and summarises all authorities issued, renewed, suspended, cancelled, varied, transferred or surrendered during that year. The report must also detail all radiation incidents investigated and summarise all prosecutions for offences in that year.

During 2025–26:

23,132 current licences or approvals were issued to organisations or individuals to perform some form of radiation practice or for the use of a radiation source

$4 million was recovered by the department in licensing revenue and returned to the Government’s Consolidated Fund

149 on-site inspections were conducted by the department, against a target of 150, as part of its compliance monitoring program

the department undertook a variety of enforcement actions under the Act

5 radiation safety incidents were investigated by the department.

# Introduction

Diagnostic, therapeutic, industrial and other uses of radiation have contributed to safety and quality of life for all Victorians. However, radiation does involve hazards if it is used inappropriately or unnecessarily. For this reason, the department regulates the use of radiation to protect people and the environment from its harmful effects by licensing users of radiation sources and managers of radiation practices under the Act.

Section 134 of the Act requires the Secretary to publish a report in respect of each financial year that:

describes the activities of the Secretary under the Act

includes a summary of all authorities issued, renewed, suspended, cancelled, varied, transferred or surrendered during that year

includes all radiation incidents investigated in that year

includes a summary of all prosecutions for offences against the Act or the Radiation Regulations 2017 (the Regulations) commenced in that year

includes any other prescribed matter.

This annual report describes the activities of the Secretary for the 2025–26 financial year (1 July 2025 to 30 June 2026).

# Legislation

## Radiation Act 2005

The Act gives effect to Victoria’s commitment to the National Directory for Radiation Protection (NDRP) published by the Australian Radiation Protection and Nuclear Safety Agency (ARPANSA). The NDRP outlines a common approach for Commonwealth, state and territory governments in regulating radiation practices.

The purpose of the Act is ‘to protect the health and safety of persons and the environment from the harmful effects of radiation’ and incorporates:

the radiation protection principle under section 7 of the Act, which requires that persons and the environment be protected from unnecessary radiation exposure through justification, limitation and optimisation. Justification assesses whether the benefits outweigh the detriment; limitation keeps risks below unacceptable levels; and optimisation keeps ionising radiation exposure as low as reasonably achievable, taking economic, social and environmental factors into account, or requires cost-effectiveness for non-ionising radiation

a requirement for the Secretary to have regard to the radiation protection principle and the NDRP

the concept of licensed activities, in particular, the licensing framework created by the Act including:

management licences that authorise the conduct of radiation practices

use licences that authorise a person to use a radiation source

radiation facility construction licences

the concept of approved testers and the testing of prescribed radiation sources against declared radiation safety standards

the concept of approved assessors of security and transport security plans.

The Act creates significant offences, including:

conducting a radiation practice without a management licence (in 2025–26, the maximum penalty for a body corporate for this offence was $1,831,590)

using a radiation source without a use licence (in 2025–26, the maximum penalty for an individual for this offence was $244,212)

non-compliance with the conditions of a management licence (in 2025–26, the maximum penalty for a body corporate for this offence was $1,221,060).

## Radiation Regulations

The Radiation Regulations 2017 (the Regulations) prescribe:

licensing fees

definitions of radioactive material, types of doses and exposures

‘radiation facility’ as a premises used or proposed to be used to house, possess, store or permit the use of any high consequence sealed source or high consequence group of sealed sources

radiation dose limits

radiation sources that must be tested and issued with a certificate of compliance before use and at specified intervals afterwards.

# How is the Act administered?

## The Health Regulator

The Health Regulator within the department administers the Act.

The Health Regulator is responsible for multiple aspects of health regulation and, during the 2025-2026 financial year, managed its radiation safety regulatory functions across four specialist units:

Regulatory Compliance and Operations – Environment, containing the Regulated Industries team, which inspected industrial practices, including transport companies and the mineral sands mining sector

Regulatory Compliance and Operations – Health, containing the Regulated Facilities team, which inspected medical, veterinary, dental and chiropractic practices

Regulatory Services, which carried out various licensing functions, including licensing of radiation practices and users of radiation sources

Regulatory Reform and Policy, responsible for radiation regulatory policy.

## The licensing framework

The Act contains a licensing framework and a number of related offence provisions. The framework manages:

‘facility construction’ licences, which authorise construction of a ‘radiation facility’; currently limited to premises where it is intended to store high consequence radioactive material (material with security requirements mandated, in addition to radiation safety requirements)

‘management licences’, which authorise the conduct of a radiation practice. Radiation practices include:

possession of radiation sources (such as X-ray units; CT scanners; radiopharmaceuticals used in nuclear medicine; radioactive sources used in industrial practices e.g., radiography of pipes and welds)

transport of radioactive material

sale of radiation sources

research involving the exposure of persons to ionising radiation

disposal of radiation sources

mining or processing of radioactive material (in Victoria’s case, mineral sands)

‘use licences’, which authorise individuals to use a radiation source

‘approved tester’ authorities, which authorise individuals to issue certificates indicating compliance with mandatory radiation safety standards for certain types of medical diagnostic X-ray units

‘approved assessor’ authorities, which authorise individuals to issue certificates indicating compliance with mandatory security standards for high consequence radioactive material.

## Licence conditions

As technical radiation safety matters evolve, they are addressed through enforceable licence conditions rather than the Act or Regulations. Licence conditions increasingly reflect nationally agreed practice-specific Codes.

## Summary of authorities issued by the department

Section 12 of the Act creates an offence for a person to conduct a radiation practice unless the person holds a management licence or is exempt under section 16 of the Act.

The most common radiation practice requiring a management licence is the possession of a radiation source. Other radiation practices include:

transporting radioactive material

selling radiation sources

procuring or arranging research that involves exposing people to radiation

mining or processing radioactive material.

Section 13 of the Act creates an offence for a person to use a radiation source unless the person holds a use licence or is exempt under section 16 of the Act.

The Secretary’s activities in administering licences and other authorities during 2025–26, together with authorities surrendered by authority holders, are summarised in Tables 1–3.

Table 1: Number of authorities issued, renewed, suspended, cancelled, varied, transferred or surrendered under the Act in 2025–26

| Authority | Management licence | Use licence | Tester | Assessor |
| --- | --- | --- | --- | --- |
| Issued | 242 | 2,729 | 14 | 0 |
| Renewed | 1,276 | 7,234 | 19 | 2 |
| Suspended | 0 | 0 | 0 | 0 |
| Cancelled | 0 | 0 | 0 | 0 |
| Varied | 541 | 505 | 4 | 0 |
| Transferred | 49 | n/a | n/a | n/a |
| Surrendered | 7 | 14 | 0 | 0 |

Table 2: Number of authorities issued as of 30 June 2026

| Authority | Number |
| --- | --- |
| Use licences | 20,243 |
| Management licences | 2,889 |
| Approved testers | 56 |
| Approved assessors | 2 |

Table 3: Sectors in which licences are held under the Act in 2025–26

| Sector | Management licence | Use licence |
| --- | --- | --- |
| Dental | 1,513 (46.11%) | 6,511 (31.93%) |
| Veterinary | 371 (11.31%) | 3,241 (15.90%) |
| Medical | 279 (8.50%) | 7,582 (37.18%) |
| Industrial | 256 (7.80%) | 1,491 (7.13%) |
| Sales | 163 (4.97%) | n/a |
| Chiropractic | 69 (2.10%) | 246 (1.21%) |
| Transport | 55 (1.68%) | n/a |
| Education | 38 (1.16%) | 132 (0.65%) |
| Mining | 6 (0.18%) | n/a |
| Other | 531 (11.31%) | 1,187 (5.82%) |

Note: Sector is recorded at the authorisation level rather than the licence level. Where a licence includes authorisations across more than one sector, the licence is counted once in each applicable sector. As a result, the sum of licences by sector may exceed the total number of unique licences.

# Revenue

Approximately $4 million was collected in licensing revenue during 2025–26 into the Government’s Consolidated Fund.

## Fee policy

The Department of Treasury and Finance’s Pricing for Value Guide assists Victorian Government departments and agencies to set pricing to recover the costs of regulating and delivering services. Consideration is given to achieving an appropriate level of cost recovery associated with the costs of regulating and delivering services, in accordance with pricing principles. These principles aim to balance achieving sustainable funding, reducing costs, improving user experience and service quality, improving equity, and increasing administrative simplicity along with cost recovery.

Having regard to these principles, the department’s aim is to recover the full cost of the administration of the Act as equitably and sustainably as possible. This is done by setting fees based on the following considerations:

applications for use licences attract a fee consisting of a non-refundable application fee plus a licence fee based on the period of the licence; the longer the licence, the higher the fee. However, a small discount may be applied for longer licence periods to reflect the slight reduction in administrative burden associated with longer period licences

the fee for a use licence does not depend on the type of radiation source proposed to be used

applications for a management licence attract a fee based on a non-refundable application fee plus a licence fee based on a combination of factors, including:

the types and numbers of radiation sources to be possessed. Sources deemed to represent a higher risk to workers, patients or the environment attract a higher fee compared to sources considered to be of lower risk

applications for an approved assessor’s authorisation do not currently attract a fee. This absence of a fee reflects the department’s policy of removing disincentives to work in this area

due to billing limitations, there is currently no fee charged for a facility construction licence. This may be subject to review at a later date.

## 2025–26 fees

Licensing fees are defined by the Regulations in terms of the number of ‘fee units’ that relate to the application or licence. The value of a fee unit is set by the Victorian Treasurer through a direction made under section 6 of the Monetary Units Act 2004. The direction is published in the Victorian Government Gazette.

In 2025–26, the value of a fee unit was $16.81.

The licensing fees for each year are published on the department’s website. <https://www.health.vic.gov.au/radiation/a-list-of-the-prescribed-fees-for-radiation-licences>.

# Enforcement activity

Providing advice and education to duty holders will always be the first step in seeking compliance with the Act and the Regulations. However, there may be some instances when enforcement action is required. The Act provides the department with several enforcement tools in addition to the power to prosecute.

## Improvement notices

The Secretary, or a delegate of the Secretary, may issue an improvement notice if they believe that a person has either contravened, or is likely to contravene, a provision of the Act or the Regulations in circumstances that make it likely that the contravention is continuing or will reoccur. When issued, an improvement notice requires the person to remedy the contravention or likely contravention, or the matters or activities causing the contravention or likely contravention.

## Prohibition notices

Like improvement notices, prohibition notices may be issued by the Secretary or their delegate under the same circumstances of a likely or actual contravention of the Act. A prohibition notice may prohibit the person from carrying on the activity, or the carrying on of the activity in a specified way, until the Secretary or their delegate has certified in writing that the contravention has ceased or that the likelihood of the contravention occurring has passed.

## Show cause notice

The Secretary, or their delegate, may issue a show cause notice notifying a licence holder of an action the Secretary, or their delegate, proposes taking in relation to a contravention of a requirement of the Act, with an invitation to the licence holder to show cause why the proposed action should not be taken. A show cause notice may also propose a period of suspension of a person’s authority under the Act.

## Executing a search warrant

While the Act provides power for authorised officers to enter certain places to monitor compliance with the Act or the Regulations, under some circumstances it is necessary to first obtain a search warrant to authorise that access.

An authorised officer of the department may apply to a magistrate to issue a search warrant if the authorised officer believes on reasonable grounds that there is, or may be within the next 72 hours, a particular thing (including a document) at the place that may afford evidence of an offence against the Act or the Regulations.

## Seizure of articles

The Act gives certain powers to authorised officers, including the power to seize anything (including a radiation source or a document) if the authorised officer reasonably believes:

the seized thing is connected with an alleged contravention of the Act or the Regulations, or

there is a serious risk to the health or safety of any person or the safety of the environment if the thing is not seized.

## Making a radiation source inoperative

The Act gives an authorised officer power to make a radiation source inoperative.

## Sealing a radiation source

The Act gives an authorised officer the power to seal a radiation source. In practice, sealing a radiation source may be required where it is impractical to seize the source, but it is necessary to prevent its further use.

## Suspending or cancelling an authority

The Act provides that the Secretary or their delegate may suspend or cancel an authority.

## Prosecution

There are several significant offences contained within the Act, and under certain circumstances, the department may feel it is necessary to begin prosecutions for these offences.

## 2025–26 enforcement actions undertaken

Table 4 summarises the enforcement actions undertaken by the department during 2025–26.

### Search warrants

One search warrant was obtained and executed in relation to a suspected unlicensed radiation apparatus in a residential property.

### Prohibition notices

One prohibition notice was issued in 2025–26 for failure to comply with the referral requirements specified in document Requirements for the assessment of body composition using DXA. These requirements apply to all DXA practices via management licence condition M1758.

### Seizures

One radiation apparatus was seized from a residential property following the execution of a search warrant in relation to suspected unlicensed possession. The apparatus was subsequently forfeited to the department.

Table 4: Enforcement actions in 2025–26

| Enforcement action | Number |
| --- | --- |
| Improvement notice | 0 |
| Prohibition notice | 1 |
| Show cause notice | 0 |
| Execution of a search warrant | 1 |
| Sealing a radiation source | 0 |
| Seizure of commercial tanning unit | 0 |
| Seizure of (ionising) radiation source | 1 |
| Prosecutions initiated | 0 |
| Licences suspended | 0 |

# Compliance monitoring overview

- Where possible, the department promotes compliance by offering advice and constructive guidance, and by using technology and systems that help licence holders to understand and comply with the laws and applicable standards.

- Inspections are a key mechanism for monitoring compliance. The department conducted 149 on-site inspections during 2025–26 as part of its licensing compliance monitoring program against a target of 150.

- This is the first year that the department has fully operationalised the lower target of 150 inspections of radiation practices (the previous target was 480). The lower target reflects a modern regulatory practice which enables the department to target its inspection activities based on the risk posed to the Victorian community. Replacing a previous out-of-date approach of random sampling, the new targeting regime allows the department to focus its resources on detecting and responding appropriately to persistent non-compliance using data, information and intelligence gathered about management licence holders and particular industries and sectors. This evidence-based approach enables the department to respond more rapidly to areas of high risk, and provide greater consistency to regulation across the health system.

- For example, in 2025-26 risk-based areas of focus for inspection activity were identified and an updated approach to inspections was developed for medical radiation practices, as set out below.

# Medical, veterinary and dental radiation practices

A total of 91 on-site inspections were conducted of medical, dental and veterinary radiation practices during 2025–26.

## Medical radiation practices

### Compliance monitoring

During 2025–26, the department commenced developing a broader inspection approach to assess the governance systems supporting radiation safety. The approach considers how licence holders manage their regulatory responsibilities, including Radiation Management Plans, quality assurance and equipment testing, incident reporting and investigation, and patient identification procedures. This work supports a more consistent, risk-based approach to compliance monitoring and will inform future inspection activity.

Other inspections in the medical sector were conducted in response to allegations or suspected non-compliance, including failure to comply with requirements relating to the use of DXA (Dual-energy X-ray absorptiometry) for body composition assessment.

### Mandatory testing of medical diagnostic X-ray units

A prescribed radiation source may only be used for human diagnostic purposes if there is a current certificate of compliance in place. During 2025–26, the department continued to monitor licensees for compliance with the testing requirements and to monitor approved testers for compliance with both the conditions of their authorisation and with the provisions of the Act.

During 2025–26 a high level of compliance with the testing requirement was observed.

#### Radiotherapy Special Interest Group

The Radiotherapy Special Interest Group (RSIG) was established in 2021 to facilitate collaboration and information sharing between departmental areas involved in the regulation and oversight of radiation therapy.

Following the establishment of the Health Regulator in 2024, collaboration and information sharing across the department has increasingly been embedded within other and existing operational and management arrangements. RSIG therefore become duplicative and has been discontinued.

## Veterinary radiation practices

During 2025–26, compliance monitoring of veterinary radiation practices continued to focus on high-risk practices involving Sr-90 (strontium-90) applicators used for therapeutic purposes. As a result of this work, two Sr-90 applicators that had exceeded their recommended working life were disposed of. Compliance monitoring in this area is expected to continue in 2026–27.

## Dental radiation practices

During 2025–26, compliance monitoring of dental radiation practices continued to focus on inspections of new licence holders, practices possessing 3D volumetric X-ray units, and practices where there were allegations or suspicions of non-compliance.

Common areas of detected non-compliance included identification of unlicensed practices (e.g. possessing an X-ray unit without appropriate authorisation on a management licence); unlicensed use (e.g. using an X-ray unit without appropriate authorisation on a use licence); and non-compliance with licence conditions, such as the requirement to notify the department of the acquisition and/or disposal of X-ray equipment, the requirement to provide personal radiation monitoring, or the requirement to service X-ray units in accordance with the Code of Practice for Radiation Protection in Dentistry (2005), published by ARPANSA.

# Industrial radiation practices

During 2025–26, compliance monitoring of various industrial sectors was conducted, with a particular focus on two areas of high radiation risk: portable radiation gauges and the security of high consequence sealed radioactive sources.

A compliance inspection program targeting licence holders authorised to possess and transport portable radiation gauges was conducted to assess compliance with the ARPANSA Code for Portable Density/Moisture Gauges Containing Radioactive Sources (2004). Compliance with the Code is a condition of management licences authorising the possession and use of these sources in the field.

A key focus of the program was assessing licence holders’ incident management strategies to prevent accidents that could damage radiation sources and mitigate the consequences if an incident occurred. Inspections also assessed staff training and emergency response procedures, and provided education about duty holders’ regulatory obligations.

The department also continued its program of auditing the approved security plans of licence holders authorised to possess high consequence sealed sources. The audits assessed whether security plans had been fully implemented and required physical security measures were in place.

In addition, the department conducted an audit of the transport of a category 1 high consequence sealed source, following the transport chain from its arrival point to its destination to assess compliance with the licence holder’s transport security plan.

A total of 58 on-site inspections were conducted of industrial radiation practices during 2025–26.

## Mining of mineral sands and rare earths

The department regulates the processing, storage, transport and disposal of the naturally occurring radioactive material associated with mineral sand mining and processing. The mining of mineral-rich sands within Victoria generally triggers the need to regulate the radiation safety aspects of the operations, due to the presence of naturally occurring radioactive material in low concentrations.

Mineral sands within Victoria are usually mined from ancient beaches, like those that existed in the Murray Basin. Mineral sands were deposited on shores where the large density of their grains allowed them to settle close to the shore and be concentrated there, while lighter sands tended to be washed out to sea. There are currently five companies licensed under the Act to conduct mineral sand mining and processing in Victoria: Iluka Resources Limited, Donald Project Pty Ltd, WIM Resource Pty Ltd, VHM Limited, and Gippsland Critical Minerals Pty Ltd.

Four of these projects are in the Murray Basin, and one is in East Gippsland.

## Commercial tanning practices

Under section 23D of the Act, it is an offence to conduct a commercial tanning practice.

The department continues to monitor compliance with the ban and responds to suspected breaches using a range of regulatory and enforcement tools.

# Incidents investigated by the department

The department investigated five incidents in 2025–26.

In July 2025, the department investigated an incident that occurred in May 2025 where a superficial radiotherapy treatment was interrupted when a communication failure between the treatment unit and console computer caused the treatment timer to freeze. Emergency interruption procedures were initiated. However, the beam-on indicator remained illuminated, causing concern that radiation was still being generated. The patient was evacuated from the treatment room and the fault was investigated. The investigation confirmed a communication failure as the cause and found that the prompt actions of staff limited the overdose to less than 0.5 Gy above the total prescribed dose. The treatment unit was removed from service while repairs were completed and additional controls were implemented to prevent recurrence.

In August 2025, the department was notified by Victoria Police of a residential property which contained a suspected radiation apparatus. Following further investigation, a search warrant for the premises was executed in September 2025, and the radiation apparatus was seized from the premises.

In March 2026, the department was notified by a waste transfer station of the finding of suspected radioactive material during a recent Detox your Home chemical collection process. The incident team attended the site, confirmed the material was radioactive, ensured there was no contamination of the area, and safely transported the material to a safe and secure interim radiation storage facility.

In April 2026, the department was notified by CFA personnel on scene that a vehicle transporting a portable radiation gauge was involved in a rollover on a road. The transport case was not damaged in the incident. The department conducted follow-up inspections with the licence holder involved, ensuring the appropriate emergency management procedures were in place along with adequate training of personnel.

In June 2026, the department responded to a radiation safety incident involving premises where radioactive material was stored. Regulatory activities focused on managing radiation safety risks and supporting remediation activities. While the incident remains under investigation, the radioactive material involved has been recovered and secured under departmental oversight.

# Secretariat support for the Radiation Advisory Committee

During 2025–26, the department continued to provide secretariat support to the Radiation Advisory Committee, established under Part 10 of the Act.

The Committee provides advice to the Minister for Health and the Secretary on all aspects of radiation safety. The Committee’s role and current members are described further at Radiation Advisory Committee. <https://www.health.vic.gov.au/radiation/radiation-advisory-committee>

An annual report of the Committee’s work is tabled in the Victorian Parliament each year and is available on the department’s website: <https://www.health.vic.gov.au/publications/radiation-advisory-committee-annual-report>

State of Victoria, 2025–26 Department Performance Statement (Department of Treasury and Finance, May 2025), p.75