# Attachment 1: Audit worksheet

| Applicant | Position |
| --- | --- |
| Land owner | CTS | SID |
| Site address |  |
| Audit period |  |

| Does the RMP address the risks specified in the Public Health and Wellbeing Regulations 2009? | Does the RMP identify action associated with the specified risks? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Specified risks | Response | Reference | Response | Details | Response | Source of information | Comment |
| 1. Stagnant water, including |  |  |  |  |  |  |  |
| 1.1 the lack of water circulation in a system; |  |  |  |  |  |  |  |
| 1.2 the presence of dead-end pipework and other fittings in a system; |  |  |  |  |  |  |  |

Attachment 1 continued: Audit worksheet

| Does the RMP address the risks specified in the Public Health and Wellbeing Regulations 2009? (continued) | Does the RMP identify action associated with the specified risks? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Specified risks | Response | Reference | Response | Details | Response | Source of information | Comment |
| 2. Nutrient growth, including- |  |  |  |  |  |  |  |
| 2.1 the presence of biofilm, algae and protozoa in a system; |  |  |  | Biodispersant used Cleaning frequency |  |  |  |
| 2.2 water temperature within a range that will support rapid growth of microorganisms in a system; |  |  |  |  |  |  |  |
| 2.3 the exposure of the water in a system to direct sunlight; |  |  |  |  |  |  |  |

Attachment 1 continued: Audit worksheets

| Does the RMP address the risks specified in the Public Health and Wellbeing Regulations 2009? (continued) | Does the RMP identify action associated with the specified risks? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Specified risks | Response | Reference | Response | Details | Response | Source of information | Comment |
| 3. Poor water quality, including the presence in a system of - |  |  |  | Service frequency |  |  |  |
| 3.1 solids; |  |  |  |  |  |  |  |
| 3.2 Legionella; |  |  |  | Legionella testing frequency |  |  |  |
| 3.3 high levels of microorganisms; |  |  |  | HCC testing frequency |  |  |  |

Attachment 1 continued: Audit worksheet

| Does the RMP address the risks specified in the Public Health and Wellbeing Regulations 2009? (continued) | Does the RMP identify action associated with the specified risks? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Specified risks | Response | Reference | Response | Details | Response | Source of information | Comment |
| 4. Deficiencies in a system, including deficiencies in the - |  |  |  |  |  |  |  |
| 4.1 physical design; |  |  |  |  |  |  |  |
| 4.2 condition; |  |  |  | Inspection frequency |  |  |  |
| 4.3 maintenance (of the system); |  |  |  |  |  |  |  |

Attachment 1 continued: Audit worksheet

| Does the RMP address the risks specified in the Public Health and Wellbeing Regulations 2009? (continued) | Does the RMP identify action associated with the specified risks? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Specified risks | Response | Reference | Response | Details | Response | Source of information | Comment |
| 5. Location of and access to the tower or system, including the potential for: |  |  |  |  |  |  |  |
| 5.1 environmental contamination of the system; |  |  |  | Side stream filter |  |  |  |
| 5.2 exposure of people to the aerosols of the system |  |  |  | Warning signs Review of working environment |  |  |  |

Attachment 1 continued: Other issues

| Does the plan address issues other than the risks specified in the Public Health and Wellbeing Regulations 2009? | Does the plan identify action associated with these issues? | Is the identified action (and therefore, the RMP) being implemented? |
| --- | --- | --- |
| Details | Reference | Response | Details | Response | Source of information | Comment |
| 6. |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |

Attachment 1 continued: Result of audit

| Determination of auditor | Response | If no, the reasons why the auditor holds that opinion |
| --- | --- | --- |
| 10. Does the plan address the specified risks? |  |  |
| 11. Is the plan being implemented? |  |  |
| 12. Has the RMP been reviewed within the last 12 months prior to the audit period end date? (record date/s of review/s within the last 12 months) |  |  |

| Name of auditor | Contact person and details |
| --- | --- |
| Date certificate issued | To whom issued |
| Whether premises visited | Time taken: Pre-audit Travelling Audit Post-audit |

Attachment 1 continued: Summary of test, service and cleaning reports

Audit period: 				CTS:

| Month | Test reports | Service reports | Cleaning reports |
| --- | --- | --- | --- |
|  | Date | HCC results | Legionella results | Remedial action | Date | Comments | Date | Comments |

Attachment 1 continued: Audit Observations

Audit period:			CTS:

| Question | Source of information | Response | Comments/Details |
| --- | --- | --- | --- |
| Does the plan incorporate the DH risk management plan template? |  |  |  |
| Is the plan intended to address the risks of system, as distinct from the risks of the cooling tower/s? |  |  |  |
| Is the plan intended to address the risks of other systems? |  |  |  |
| According to the plan, what is the overall risk classification category of the system? |  |  |  |
| Does the plan include an operational program? |  |  |  |
| Is the operational program being implemented? |  |  |  |
| Does the plan include a communication strategy? |  |  |  |
| Does the plan include a positive Legionella test notification list? |  |  |  |
| Has the plan been endorsed by the owner of the land and/or of the system? |  |  |  |
| Are arrangements in place to review the plan annually (according the requirements of the Public Health and Wellbeing Act)? |  |  |  |